## Point 5
EPA Licence Number: | 1808
Licensee Name: | CSR Building Products Limited
Licensee Address: | 2 Greendale Rd Bringelly, NSW 2556
Link to Licence: | http://www.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=70251&SYSUID=1&LICID=1808
Type of Discharge Point: | Discharge to water
Sampling Point Description: | Discharge from Dam 5 on map labelled: Site Layout Plan, Figure 2, Water Management Plan dated 10.11.15 (EPA DOC15/464889-02). Discharge point is located on the NW corner of Dam 5
Monitoring Frequency Required: | <24hrs prior to discharge |  |  |  | No of Samples required Annually: | Dependent on discharges
Limit | 6.5-8.5 | 1450 | 150 | 10 |  |  |  |  | 01 Jun to 31 May
Description | pH | Conductivity (uS/cm) | Turbidity (NTU) | Oil and Grease (mg/L) | Comment | Date Sampled | Date Obtained | Date Published | Annual Return Year
Point 5 | 7.2 | 223 | 8360 | <10 | Untreated as received 12 days rain in 4 days. | 2016-06-06 | 2016-06-06 | 2016-06-06 | 2017
Point 5 | 7.94 | 333 | 85 | <10 |  | 2016-06-16 | 2016-06-16 | 2016-06-16 | 2017
Point 5 | 7.97 | 450 | 141 | <10 |  | 2016-08-01 | 2016-08-01 | 2016-08-01 | 2017
Point 5 | 8.1 | 764 | 80 | <10 |  | 2016-10-14 | 2016-10-14 | 2016-10-14 | 2017
Point 5 | 8.2 | 687 | 50 | <10 |  | 2017-01-18 | 2017-01-18 | 2017-01-18 | 2017
Point 5 | 6.88 | 887 | 109 | <10 |  | 2017-02-28 | 2017-02-28 | 2017-03-01 | 2017
Point 5 | 7.6 | 899 | 68 | <10 |  | 2017-03-01 | 2017-03-01 | 2017-03-01 | 2017
Point 5 | 7.28 | 600 | 74 | <10 |  | 2017-03-10 | 2017-03-10 | 2017-03-10 | 2017
Point 5 | 7.6 | 480 | 950 | <10 |  | 2017-03-22 | 2017-03-22 | 2017-03-22 | 2017
Point 5 | 7.2 | 440 | 1450 | <10 |  | 2017-03-23 | 2017-03-23 | 2017-03-23 | 2017
Point 5 | 7.45 | 510 | 39.5 | <10 |  | 2017-03-27 | 2017-03-27 | 2017-03-27 | 2017
Point 5 | 7.02 | 535 | 136 | <10 |  | 2017-04-10 | 2017-04-10 | 2017-04-10 | 2017
Point 5 | 7.6 | 657 | 99 | <10 |  | 2017-04-26 | 2017-04-26 | 2017-04-26 | 2017
Point 5 | 7.73 | 760 | 58.4 | <10 |  | 2017-05-01 | 2017-05-01 | 2017-05-01 | 2017
Point 5 | 8.04 | 754 | 57.2 | <10 |  | 2017-05-08 | 2017-05-08 | 2017-05-08 | 2017
Point 5 | 7.7 | 770 | 41.2 | <10 |  | 2017-05-12 | 2017-05-12 | 2017-05-12 | 2017
Point 5 | 7.9 | 722 | 57.1 | <10 |  | 2017-05-16 | 2017-05-16 | 2017-05-16 | 2017
Point 5 | 7.56 | 751 | 63.2 | <10 |  | 2017-05-22 | 2017-05-22 | 2017-05-22 | 2017
Number of Samples | 18 | 18 | 18 | 0
Lowest Sample | 6.88 | 223 | 39.5 | 0
Mean of Sample | 7.6094 | 623.4444 | 662.1444 | #DIV/0!
Highest Sample | 8.2 | 899 | 8360 | 0
Point 5 | 8.01 | 772 | 101 | <10 |  | 2017-06-01 | 2017-06-01 | 2017-06-01 | 2018
Point 5 | 7.87 | 774 | 61 | <10 |  | 2017-06-06 | 2017-06-06 | 2017-06-06 | 2018
Point 5 | 7.18 | 755 | 6.5 | <10 |  | 2017-06-14 | 2017-06-14 | 2017-06-14 | 2018
Point 5 | 7.9 | 793 | 20.2 | <10 |  | 2017-06-19 | 2017-06-19 | 2017-06-19 | 2018
Point 5 | 7.45 | 804 | 22.7 | <10 |  | 2017-06-26 | 2017-06-26 | 2017-06-26 | 2018
Point 5 | 7.88 | 820 | 47.3 | <10 |  | 2017-06-30 | 2017-06-30 | 2017-06-30 | 2018
Point 5 | 7.29 | 826 | 40.9 | <10 |  | 2017-07-07 | 2017-07-07 | 2017-07-07 | 2018
Point 5 | 7.9 | 838 | 66.7 | <10 |  | 2017-07-11 | 2017-07-11 | 2017-07-11 | 2018
Point 5 | 7.39 | 832 | 26.8 | <10 |  | 2017-07-17 | 2017-07-17 | 2017-07-17 | 2018
Point 5 | 7.72 | 799 | 18.2 | <10 |  | 2017-07-24 | 2017-07-24 | 2017-07-24 | 2018
Point 5 | 7.65 | 819 | 28.1 | <10 |  | 2017-07-28 | 2017-07-28 | 2017-07-28 | 2018
Point 5 | 8.2 | 804 | 35 | <10 |  | 2017-08-01 | 2017-08-01 | 2017-08-01 | 2018
Point 5 | 7.9 | 880 | 28 | <10 |  | 2017-08-07 | 2017-08-07 | 2017-08-07 | 2018
Point 5 | 7.6 | 998 | 40.9 | <10 |  | 2017-08-16 | 2017-08-16 | 2017-08-16 | 2018
Point 5 | 8.4 | 1165 | 38.1 | <10 |  | 2017-08-22 | 2017-08-22 | 2017-08-22 | 2018
Point 5 | 7.95 | 1160 | 9.5 | <10 |  |  | 2017-11-13 | 2017-11-13 | 2018
Point 5 | 7.78 | 1120 | 16.4 | <10 |  |  | 2018-03-07 | 2018-03-07 | 2018
Point 5 | 7.49 | 1076 | 32.5 | <10 |  |  | 2018-07-03 | 2018-07-03 | 2019
Point 5 | 7.51 | 722 | 29.4 | <10 |  |  | 2018-10-17 | 2018-10-17 | 2019
Point 5 | 7.2 | 730 | 18.3 | <10 |  |  | 2018-12-21 | 2018-12-21 | 2019
Point 5 | 6.98 | 323 | 31.3 | <10 |  |  | 2019-03-25 | 2019-03-26 | 2019
Point 5 | 7.1 | 1130 | 13.2 | <10 |  |  | 2019-09-16 | 2019-09-16 | 2020
Point 5 | 7.2 | 695 | 46.8 | <10 |  |  | 2019-09-19 | 2019-09-19 | 2020
Point 5 | 7.88 | 979 | 22.1 | <10 |  | 2019-10-22 | 2019-10-22 | 2019-10-22 | 2020
Point 5 | 5.8 | 344 | 2600 | <10 | Rain/Storm water; Untreated (08/02/2020-10/02/2020) | 2020-02-10 | 2020-02-10 | 2020-02-10 | 2020
Point5 | 6.6 | 726 | 14.7 | <10 |  | 2020-03-16 | 2020-03-16 | 2020-03-16 | 2020
Point5 | 6.5 | 826 | 17 | <10 |  | 2020-04-01 | 2020-04-01 | 2020-04-01 | 2020
Point5 | 7.1 | 1448 | 15 | <10 |  | 2020-05-01 | 2020-05-01 | 2020-05-01 | 2020

## Point 1
EPA Licence Number: | 1808
Licensee Name: | CSR Building Products Limited
Licensee Address: | 2 Greendale Rd Bringelly, NSW 2556
Link to Licence: | http://www.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=70251&SYSUID=1&LICID=1808
Type of Discharge Point: | Discharge to water
Sampling Point Description: | Outlet from Dam 1 on map labelled: Site Layout Plan, Figure 2, Water Management Plan dated 10.11.15 (EPA DOC15/464889-02). Discharge point is located on the NE corner of Dam 1.
Monitoring Frequency Required: | Weekly during any discharge |  | No of Samples required Annually: |  | Dependent on discharges
Limit | 6.5-8.5 | 150 | 10 |  |  |  |  | 01 Jun to 31 May
Description | pH | Turbidity (NTU) | Oil and Grease (mg/L) | Comment | Date Sampled | Date Obtained | Date Published | Annual Return Year
Point 1 | 7.5 | 650 | <10 | Untreated as received 12 days rain in 4 days. | 2016-06-06 | 2016-06-06 | 2016-06-06 | 2017
Point 1 | 7.2 | 113 | <10 |  | 2017-03-22 | 2017-03-22 | 2017-03-22 | 2017
Point 1 | 7.4 | 74 | <10 |  | 2017-03-31 | 2017-03-31 | 2017-03-31 | 2017
Point 1 | 7.47 | 88 | <10 |  | 2017-04-05 | 2017-04-05 | 2017-04-05 | 2017
Number of Samples | 4 | 4 | 0
Lowest Sample | 7.2 | 74 | 0
Mean of Sample | 7.3925 | 231.25 | #DIV/0!
Highest Sample | 7.5 | 650 | 0
Point 1 | 6.9 | 1401 | <10 | Rain/Stormwater untreatedl 08/02/2020-10/02/2020 | 2020-02-10 | 2020-02-10 | 2020-02-10 | 2020

## Point 2
EPA Licence Number: | 1808
Licensee Name: | CSR Building Products Limited
Licensee Address: | 2 Greendale Rd Bringelly, NSW 2556
Link to Licence: | http://www.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=70251&SYSUID=1&LICID=1808
Type of Discharge Point: | Discharge to air
Sampling Point Description: | Kiln exhaust stack as marked on map showing locations of discharge points submitted to the EPA with Licence Information Form dated 9/05/00
Monitoring Frequency Required: | Yearly | No of Samples required Annually: |  |  | 1
Limit | 50 | 2000 | 100 |  |  |  |  | 01 Jun to 31 May
Description | Hydrogen Flouride (mg/m3) | Nitrogen Oxides (mg/m3) | Total Solid Particles (mg/m3) | Comment | Date Sampled | Date Obtained | Date Published | Annual Return Year
Point 2 | 4.4 | 63 | 5.1 |  | 2015-03-26 |  |  | 2015
Point 2 | 9.6 | 95 | 6.4 |  | 2016-04-05 |  |  | 2016
Point 2 | 14 | 111.4 | 21.2 |  | 2017-04-20 |  |  | 2017
Point 2 | 9.25 | 108 | 30.9 |  | 2018-03-20 |  |  | 2018
Point 2 | 11 | 62 | 4.4 |  | 2019-03-07 | 2019-05-31 | 2019-05-31 | 2019
Point2 | 13 | 48 | 5.7 |  | 2020-04-07 | 2020-05-04 | 2020-05-04 | 2020