## Point 5
EPA Licence Number: | 1808
Licensee Name: | CSR Building Products Limited
Licensee Address: | 2 Greendale Rd Bringelly, NSW 2556
Link to Licence: | http://www.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=70251&SYSUID=1&LICID=1808
Type of Discharge Point: | Discharge to water
Sampling Point Description: | Discharge from Dam 5 on map labelled: Site Layout Plan, Figure 2, Water Management Plan dated 10.11.15 (EPA DOC15/464889-02). Discharge point is located on the NW corner of Dam 5
Monitoring Frequency Required: | <24hrs prior to discharge |  |  |  | No of Samples required Annually: | Dependent on discharges
Limit | 6.5-8.5 | 1450 | 150 | 10 |  |  |  |  | 01 Jun to 31 May
Description | pH | Conductivity (uS/cm) | Turbidity (NTU) | Oil and Grease (mg/L) | Comment | Date Sampled | Date Obtained | Date Published | Annual Return Year
Point 5 | 7.2 | 223 | 8360 | <10 | Untreated as received 12 days rain in 4 days. | 2016-06-06 | 2016-06-06 | 2016-06-06 | 2017
Point 5 | 7.94 | 333 | 85 | <10 |  | 2016-06-16 | 2016-06-16 | 2016-06-16 | 2017
Point 5 | 7.97 | 450 | 141 | <10 |  | 2016-08-01 | 2016-08-01 | 2016-08-01 | 2017
Point 5 | 8.1 | 764 | 80 | <10 |  | 2016-10-14 | 2016-10-14 | 2016-10-14 | 2017
Point 5 | 8.2 | 687 | 50 | <10 |  | 2017-01-18 | 2017-01-18 | 2017-01-18 | 2017
Point 5 | 6.88 | 887 | 109 | <10 |  | 2017-02-28 | 2017-02-28 | 2017-03-01 | 2017
Point 5 | 7.6 | 899 | 68 | <10 |  | 2017-03-01 | 2017-03-01 | 2017-03-01 | 2017
Point 5 | 7.28 | 600 | 74 | <10 |  | 2017-03-10 | 2017-03-10 | 2017-03-10 | 2017
Point 5 | 7.6 | 480 | 950 | <10 |  | 2017-03-22 | 2017-03-22 | 2017-03-22 | 2017
Point 5 | 7.2 | 440 | 1450 | <10 |  | 2017-03-23 | 2017-03-23 | 2017-03-23 | 2017
Point 5 | 7.45 | 510 | 39.5 | <10 |  | 2017-03-27 | 2017-03-27 | 2017-03-27 | 2017
Point 5 | 7.02 | 535 | 136 | <10 |  | 2017-04-10 | 2017-04-10 | 2017-04-10 | 2017
Point 5 | 7.6 | 657 | 99 | <10 |  | 2017-04-26 | 2017-04-26 | 2017-04-26 | 2017
Point 5 | 7.73 | 760 | 58.4 | <10 |  | 2017-05-01 | 2017-05-01 | 2017-05-01 | 2017
Point 5 | 8.04 | 754 | 57.2 | <10 |  | 2017-05-08 | 2017-05-08 | 2017-05-08 | 2017
Point 5 | 7.7 | 770 | 41.2 | <10 |  | 2017-05-12 | 2017-05-12 | 2017-05-12 | 2017
Point 5 | 7.9 | 722 | 57.1 | <10 |  | 2017-05-16 | 2017-05-16 | 2017-05-16 | 2017
Point 5 | 7.56 | 751 | 63.2 | <10 |  | 2017-05-22 | 2017-05-22 | 2017-05-22 | 2017
Number of Samples | 18 | 18 | 18 | 0
Lowest Sample | 6.88 | 223 | 39.5 | 0
Mean of Sample | 7.6094 | 623.4444 | 662.1444 | #DIV/0!
Highest Sample | 8.2 | 899 | 8360 | 0
Point 5 | 8.01 | 772 | 101 | <10 |  | 2017-06-01 | 2017-06-01 | 2017-06-01 | 2018
Point 5 | 7.87 | 774 | 61 | <10 |  | 2017-06-06 | 2017-06-06 | 2017-06-06 | 2018
Point 5 | 7.18 | 755 | 6.5 | <10 |  | 2017-06-14 | 2017-06-14 | 2017-06-14 | 2018
Point 5 | 7.9 | 793 | 20.2 | <10 |  | 2017-06-19 | 2017-06-19 | 2017-06-19 | 2018
Point 5 | 7.45 | 804 | 22.7 | <10 |  | 2017-06-26 | 2017-06-26 | 2017-06-26 | 2018
Point 5 | 7.88 | 820 | 47.3 | <10 |  | 2017-06-30 | 2017-06-30 | 2017-06-30 | 2018
Point 5 | 7.29 | 826 | 40.9 | <10 |  | 2017-07-07 | 2017-07-07 | 2017-07-07 | 2018
Point 5 | 7.9 | 838 | 66.7 | <10 |  | 2017-07-11 | 2017-07-11 | 2017-07-11 | 2018
Point 5 | 7.39 | 832 | 26.8 | <10 |  | 2017-07-17 | 2017-07-17 | 2017-07-17 | 2018
Point 5 | 7.72 | 799 | 18.2 | <10 |  | 2017-07-24 | 2017-07-24 | 2017-07-24 | 2018
Point 5 | 7.65 | 819 | 28.1 | <10 |  | 2017-07-28 | 2017-07-28 | 2017-07-28 | 2018
Point 5 | 8.2 | 804 | 35 | <10 |  | 2017-08-01 | 2017-08-01 | 2017-08-01 | 2018
Point 5 | 7.9 | 880 | 28 | <10 |  | 2017-08-07 | 2017-08-07 | 2017-08-07 | 2018
Point 5 | 7.6 | 998 | 40.9 | <10 |  | 2017-08-16 | 2017-08-16 | 2017-08-16 | 2018
Point 5 | 8.4 | 1165 | 38.1 | <10 |  | 2017-08-22 | 2017-08-22 | 2017-08-22 | 2018
Point 5 | 7.95 | 1160 | 9.5 | <10 |  |  | 2017-11-13 | 2017-11-13 | 2018
Point 5 | 7.78 | 1120 | 16.4 | <10 |  |  | 2018-03-07 | 2018-03-07 | 2018
Point 5 | 7.49 | 1076 | 32.5 | <10 |  |  | 2018-07-03 | 2018-07-03 | 2019
Point 5 | 7.51 | 722 | 29.4 | <10 |  |  | 2018-10-17 | 2018-10-17 | 2019
Point 5 | 7.2 | 730 | 18.3 | <10 |  |  | 2018-12-21 | 2018-12-21 | 2019
Point 5 | 6.98 | 323 | 31.3 | <10 |  |  | 2019-03-25 | 2019-03-26 | 2019
Point 5 | 7.1 | 1130 | 13.2 | <10 |  |  | 2019-09-16 | 2019-09-16 | 2020
Point 5 | 7.2 | 695 | 46.8 | <10 |  |  | 2019-09-19 | 2019-09-19 | 2020
Point 5 | 7.88 | 979 | 22.1 | <10 |  | 2019-10-22 | 2019-10-22 | 2019-10-22 | 2020
Point 5 | 5.8 | 344 | 2600 | <10 | Rain/Storm water; Untreated (08/02/2020-10/02/2020) | 2020-02-10 | 2020-02-10 | 2020-02-10 | 2020
Point5 | 6.6 | 726 | 14.7 | <10 |  | 2020-03-16 | 2020-03-16 | 2020-03-16 | 2020
Point5 | 6.5 | 826 | 17 | <10 |  | 2020-04-01 | 2020-04-01 | 2020-04-01 | 2020
Point5 | 7.1 | 1448 | 15 | <10 |  | 2020-05-01 | 2020-05-01 | 2020-05-01 | 2020
Point5 | 6.86 | 1460 | 6.5 | <10 |  | 2020-07-06 | 2020-07-06 | 2020-07-06 | 2021
Point5 | 8.17 | 1546 | 5.1 | <10 |  | 2020-07-07 | 2020-07-07 | 2020-07-07 | 2021
Point5 | 8.36 | 1630 | 10.1 | <10 |  | 2020-07-08 | 2020-07-08 | 2020-07-08 | 2021
Point5 | 6.6 | 1365 | 7.2 | <10 |  | 2020-07-13 | 2020-07-13 | 2020-07-13 | 2021
Point5 | 6.89 | 694 | 33.2 | <10 |  | 2020-07-31 | 2020-07-31 | 2020-07-31 | 2021
Point5 | 6.78 | 634 | 109.9 | <10 |  | 2020-08-10 | 2020-08-10 | 2020-08-10 | 2021
Point5 | 8.4 | 667 | 62 | <10 |  | 2020-08-14 | 2020-08-14 | 2020-08-14 | 2021
Point5 | 6.94 | 1082 | 73.6 | <10 |  | 2020-10-28 | 2020-10-28 | 2020-10-28 | 2021
Point5 | 8.3 | 1046 | 66.7 | <10 |  | 2020-10-29 | 2020-10-29 | 2020-10-29 | 2021
Point5 | 8.4 | 1047 | 50 | <10 |  | 2020-10-30 | 2020-10-30 | 2020-10-30 | 2021
Point5 | 8.73 | 1101 | 34.8 | <10 | Not Discharging | 2020-11-03 | 2020-11-03 | 2020-11-03 | 2021
Point5 | 6.7 | 855 | 110.7 | <10 |  | 2020-11-05 | 2020-11-05 | 2020-11-05 | 2021
Point5 | 6.6 | 1135 | 2.9 | <10 |  | 2020-12-14 | 2020-12-14 | 2020-12-14 | 2021
Point5 | 6.6 | 997 | 3.7 | <10 |  | 2021-01-27 | 2021-01-27 | 2021-01-27 | 2021
Point5 | 6.7 | 1085 | 21 | <10 |  | 2021-02-03 | 2021-02-03 | 2021-02-03 | 2021
Point5 | 8.4 | 972 | 9 | <10 |  | 2021-02-09 | 2021-02-09 | 2021-02-09 | 2021
Point5 | 9 | 912 | 10 | <10 | Not Discharging | 2021-02-18 | 2021-02-18 | 2021-02-18 | 2021
Point5 | 6 | 936 | 2 | <10 | Not Discharging | 2021-03-16 | 2021-03-16 | 2021-03-16 | 2021
Point5 | 8.2 | 1004 | 14.3 | <10 |  | 2021-03-18 | 2021-03-18 | 2021-03-18 | 2021
Point5 | 8.13 | 850 | 24.8 | <10 |  | 2021-03-19 | 2021-03-19 | 2021-03-19 | 2021
Point5 | 8.6 | 235 | 460 | <10 | overflow check; due to heavy rainfall | 2021-03-21 | 2021-03-21 | 2021-03-21 | 2021
Point5 | 9 | 313 | OVER RANGE | <10 | dam 5 overflow check | 2021-03-22 | 2021-03-22 | 2021-03-22 | 2021
Point5 | 8.2 | 318 | OVER RANGE | <10 | dam 5 overflow check | 2021-03-22 | 2021-03-22 | 2021-03-22 | 2021
Point5 | 8.5 | 270 | OVER RANGE | <10 | dam 5 overflow check | 2021-03-23 | 2021-03-23 | 2021-03-23 | 2021
Point5 | 8.8 | 409 | OVER RANGE | <10 | dam 5 overflow check | 2021-03-24 | 2021-03-24 | 2021-03-24 | 2021
Point5 | 7.9 | 433 | OVER RANGE | <10 | dam 5 overflow check | 2021-03-25 | 2021-03-25 | 2021-03-25 | 2021
Point5 | 5.6 | 441 | OVER RANGE | <10 | dam 5 overflow check | 2021-03-26 | 2021-03-26 | 2021-03-26 | 2021
Point5 | 5.58 | 399 | 41.3 | <10 | Not Discharging | 2021-04-06 | 2021-04-06 | 2021-04-06 | 2021
Point5 | 7.4 | 490 | 140 | <10 |  | 2021-04-06 | 2021-04-06 | 2021-04-06 | 2021
Point5 | 7.2 | 417 | 21.3 | <10 |  | 2021-04-21 | 2021-04-21 | 2021-04-21 | 2021
Point5 | 7.2 | 408 | 20.1 | <10 |  | 2021-04-22 | 2021-04-22 | 2021-04-22 | 2021
Point5 | 8 | 450 | 23.4 | <10 |  | 2021-04-26 | 2021-04-26 | 2021-04-26 | 2021
Point5 | 6 | 593 | 184.7 | <10 | Not Discharging | 2021-05-10 | 2021-05-10 | 2021-05-10 | 2021
Point5 | 7.9 | 666 | 219 | <10 | Not Discharging | 2021-05-17 | 2021-05-17 | 2021-05-17 | 2021
Point5 | 7.5 | 675 | 14.8 | <10 |  | 2021-05-31 | 2021-05-31 | 2021-05-31 | 2021
Point5 | 7.9 | 620 | 11.2 | <10 |  | 2021-06-07 | 2021-06-07 | 2021-06-07 | 2022
Point5 | 7.2 | 910 | 77 | <10 |  | 2021-06-15 | 2021-06-15 | 2021-06-15 | 2022
Point5 | 5.8 | 588 | 75.1 | <10 | Not Discharging | 2021-06-18 | 2021-06-18 | 2021-06-18 | 2022
Point5 | 5.7 | 607 | 71 | <10 | Not Discharging | 2021-06-21 | 2021-06-21 | 2021-06-21 | 2022
Point5 | 7.3 | 596 | 70.4 | <10 |  | 2021-06-21 | 2021-06-21 | 2021-06-21 | 2022
Point5 | 7.6 | 600 | 23 | <10 |  | 2021-07-02 | 2021-07-02 | 2021-07-02 | 2022
Point5 | 7.97 | 615 | 36.3 | <10 |  | 2021-07-13 | 2021-07-13 | 2021-07-13 | 2022
Point5 | 7.83 | 584 | 31.5 | <10 |  | 2021-07-14 | 2021-07-14 | 2021-07-14 | 2022
Point5 | 7.9 | 600 | 75 | <10 |  | 2021-07-19 | 2021-07-19 | 2021-07-19 | 2022
Point5 | 7.5 | 598 | 23.1 | <10 |  | 2021-08-02 | 2021-08-02 | 2021-08-02 | 2022
Point5 | 8.1 | 601 | 22.5 | <10 |  | 2021-08-09 | 2021-08-09 | 2021-08-09 | 2022
Point5 | 7.87 | 613 | 27.3 | <10 |  | 2021-08-16 | 2021-08-16 | 2021-08-16 | 2022
Point5 | 6.89 | 598 | 10.6 | <10 |  | 2021-08-30 | 2021-08-30 | 2021-08-30 | 2022
Point5 | 7.03 | 623 | 56.7 | <10 |  | 2021-09-02 | 2021-09-02 | 2021-09-02 | 2022
Point5 | 7.19 | 588 | 200 | <10 | Not Discharging | 2021-09-03 | 2021-09-03 | 2021-09-03 | 2022
Point5 | 7.25 | 608 | 60.8 | <10 |  | 2021-09-03 | 2021-09-03 | 2021-09-03 | 2022
Point5 | 6.91 | 651 | 15.9 | <10 |  | 2021-09-10 | 2021-09-10 | 2021-09-10 | 2022
Point5 | 7.2 | 651 | 108.5 | <10 |  | 2021-09-14 | 2021-09-14 | 2021-09-14 | 2022
Point5 | 7.49 | 646 | 55.2 | <10 |  | 2021-09-20 | 2021-09-20 | 2021-09-20 | 2022
Point5 | 7.39 | 641 | 92.3 | <10 |  | 2021-09-27 | 2021-09-27 | 2021-09-27 | 2022
Point5 | 6.86 | 644 | 91.7 | <10 |  | 2021-10-05 | 2021-10-05 | 2021-10-05 | 2022
Point5 | 7.2 | 654 | 67.6 | <10 |  | 2021-10-11 | 2021-10-11 | 2021-10-11 | 2022
Point5 | 6.8 | 661 | 47.3 | <10 |  | 2021-10-18 | 2021-10-18 | 2021-10-18 | 2022
Point5 | 6.68 | 671 | 463 | <10 | Not Discharging | 2021-10-25 | 2021-10-25 | 2021-10-25 | 2022
Point5 | 7.33 | 666 | 135.1 | <10 |  | 2021-10-25 | 2021-10-25 | 2021-10-25 | 2022
Point5 | 6.98 | 638 | 19.9 | <10 |  | 2021-11-01 | 2021-11-01 | 2021-11-01 | 2022
Point5 | 6.94 | 654 | 44 | <10 |  | 2021-11-08 | 2021-11-08 | 2021-11-08 | 2022
Point5 | 6.35 | 645 | 36.6 | <10 | Not Discharging | 2021-11-10 | 2021-11-10 | 2021-11-10 | 2022
Point5 | 7.22 | 673 | 74.4 | <10 |  | 2021-11-10 | 2021-11-10 | 2021-11-10 | 2022
Point5 | 6.87 | 625 | 239 | <10 | Not Discharging | 2021-11-11 | 2021-11-11 | 2021-11-11 | 2022
Point5 | 6.66 | 595 | 41.3 | <10 |  | 2021-11-12 | 2021-11-12 | 2021-11-12 | 2022
Point5 | 6.74 | 625 | 400 | <10 | Not Discharging | 2021-11-15 | 2021-11-15 | 2021-11-15 | 2022
Point5 | 6.44 | 634 | 118.2 | <10 | Not Discharging | 2021-11-15 | 2021-11-15 | 2021-11-15 | 2022
Point5 | 7.03 | 632 | 13.7 | <10 |  | 2021-11-18 | 2021-11-18 | 2021-11-18 | 2022
Point5 | 7.36 | 684 | 77 | <10 |  | 2021-11-24 | 2021-11-24 | 2021-11-24 | 2022
Point5 | 7.2 | 657 | 332 | <10 | Not Discharging | 2021-11-25 | 2021-11-25 | 2021-11-25 | 2022
Point5 | 6.73 | 551 | 77.2 | <10 |  | 2021-11-30 | 2021-11-30 | 2021-11-30 | 2022
Point5 | 6.49 | 562 | 363 | <10 | Not Discharging | 2021-12-01 | 2021-12-01 | 2021-12-01 | 2022
Point5 | 6.71 | 626 | 33.4 | <10 |  | 2021-12-02 | 2021-12-02 | 2021-12-02 | 2022
Point5 | 7.37 | 621 | 17.8 | <10 |  | 2021-12-03 | 2021-12-03 | 2021-12-03 | 2022
Point5 | 7.49 | 657 | 93.2 | <10 |  | 2021-12-06 | 2021-12-06 | 2021-12-06 | 2022
Point5 | 7.15 | 641 | 364 | <10 | Not Discharging | 2021-12-10 | 2021-12-10 | 2021-12-10 | 2022
Point5 | 7.05 | 642 | 88.8 | <10 |  | 2021-12-14 | 2021-12-14 | 2021-12-14 | 2022
Point5 | 6.72 | 646 | 45.1 | <10 |  | 2021-12-22 | 2021-12-22 | 2021-12-22 | 2022
Point5 | 8.2 | 652 | 32.7 | <10 |  | 2022-01-04 | 2022-01-04 | 2022-01-04 | 2022
Point5 | 6.82 | 608 | 281 | <10 | Not Discharging | 2022-01-06 | 2022-01-06 | 2022-01-06 | 2022
Point5 | 6.6 | 558 | 4.7 | <10 |  | 2022-01-12 | 2022-01-12 | 2022-01-12 | 2022
Point5 | 8.2 | 558 | 62.7 | <10 |  | 2022-01-17 | 2022-01-17 | 2022-01-17 | 2022
Point5 | 7 | 548 | 431 | <10 | Not Discharging | 2022-01-18 | 2022-01-18 | 2022-01-18 | 2022
Point5 | 8.2 | 624 | 26.5 | <10 |  | 2022-01-31 | 2022-01-31 | 2022-01-31 | 2022
Point5 | 7.5 | 595 | 70.2 | <10 |  | 2022-02-03 | 2022-02-03 | 2022-02-03 | 2022
Point5 | 8.1 | 625 | 180.6 | <10 | Not Discharging | 2022-02-04 | 2022-02-04 | 2022-02-04 | 2022
Point5 | 8 | 625 | 14.7 | <10 |  | 2022-02-07 | 2022-02-07 | 2022-02-07 | 2022
Point5 | 7.4 | 650 | 31 | <10 |  | 2022-02-14 | 2022-02-14 | 2022-02-14 | 2022
Point5 | 8 | 670 | 410 | <10 | Not Discharging | 2022-02-15 | 2022-02-15 | 2022-02-15 | 2022
Point5 | 8 | 673 | 22.7 | <10 |  | 2022-02-17 | 2022-02-17 | 2022-02-17 | 2022
Point5 | 9 | 781 | 41 | <10 | Not Discharging | 2022-02-21 | 2022-02-21 | 2022-02-21 | 2022
Point5 | 7.42 | 361 | 2337 | <10 | overflow check; due to heavy rainfall | 2022-03-02 | 2022-03-02 | 2022-03-02 | 2022
Point5 | 7.9 | 208 | 19200 | <10 | overflow check; due to heavy rainfall | 2022-03-03 | 2022-03-03 | 2022-03-03 | 2022
Point5 | 7.2 | 272 | 19200 | <10 | overflow check; due to heavy rainfall | 2022-03-07 | 2022-03-07 | 2022-03-07 | 2022
Point5 | 7.24 | 258 | 19200 | <10 | overflow check; due to heavy rainfall | 2022-03-09 | 2022-03-09 | 2022-03-09 | 2022
Point5 | 7.79 | 391 | 571 | <10 | overflow check; due to heavy rainfall | 2022-03-15 | 2022-03-15 | 2022-03-15 | 2022
Point5 | 7.65 | 402 | 23.7 | <10 |  | 2022-03-16 | 2022-03-16 | 2022-03-16 | 2022
Point5 | 7.19 | 374 | 52 | <10 |  | 2022-03-17 | 2022-03-17 | 2022-03-17 | 2022
Point5 | 7.45 | 378 | 51.6 | <10 |  | 2022-03-18 | 2022-03-18 | 2022-03-18 | 2022
Point5 | 7.56 | 395 | 863 | <10 | Not Discharging | 2022-03-25 | 2022-03-25 | 2022-03-25 | 2022
Point5 | 7.61 | 432 | 30.7 | <10 |  | 2022-04-05 | 2022-04-05 | 2022-04-05 | 2022
Point5 | 7.69 | 473 | 14.9 | <10 |  | 2022-04-06 | 2022-04-06 | 2022-04-06 | 2022
Point5 | 7.37 | 437 | 91.6 | <10 |  | 2022-04-08 | 2022-04-08 | 2022-04-08 | 2022
Point5 | 7.88 | 445 | 44.9 | <10 |  | 2022-04-19 | 2022-04-19 | 2022-04-19 | 2022
Point5 | 7.32 | 428 | 71.6 | <10 |  | 2022-04-20 | 2022-04-20 | 2022-04-20 | 2022
Point5 | 7.69 | 460 | 1483 | <10 | Not Discharging | 2022-04-21 | 2022-04-21 | 2022-04-21 | 2022
Point5 | 8.1 | 498 | 19.4 | <10 |  | 2022-05-02 | 2022-05-02 | 2022-05-02 | 2022
Point5 | 8.4 | 483 | 15.9 | <10 |  | 2022-05-03 | 2022-05-03 | 2022-05-03 | 2022
Point5 | 7.37 | 494 | 69.7 | <10 |  | 2022-05-09 | 2022-05-09 | 2022-05-09 | 2022
Point5 | 7.61 | 475 | 49.9 | <10 |  | 2022-05-10 | 2022-05-10 | 2022-05-10 | 2022
Point5 | 7.13 | 460 | 53.1 | <10 |  | 2022-05-11 | 2022-05-11 | 2022-05-11 | 2022
Point5 | 6.89 | 505 | 218.6 | <10 | Not Discharging | 2022-05-12 | 2022-05-12 | 2022-05-12 | 2022
Point5 | 7.25 | 558 | 118 | <10 |  | 2022-05-13 | 2022-05-13 | 2022-05-13 | 2022
Point5 | 6.84 | 485 | 129.9 | <10 |  | 2022-05-18 | 2022-05-18 | 2022-05-18 | 2022
Point5 | 7.71 | 517 | 4.1 | <10 |  | 2022-06-06 | 2022-06-06 | 2022-06-06 | 2023
Point5 | 7.61 | 481 | 21 | <10 |  | 2022-06-07 | 2022-06-07 | 2022-06-07 | 2023
Point5 | 7.69 | 486 | 23.2 | <10 |  | 2022-06-08 | 2022-06-08 | 2022-06-08 | 2023
Point5 | 7.82 | 497 | 94.9 | <10 |  | 2022-06-09 | 2022-06-09 | 2022-06-09 | 2023
Point5 | 7.37 | 485 | 15.7 | <10 |  | 2022-06-17 | 2022-06-17 | 2022-06-17 | 2023
Point5 | 7.33 | 406 | 73.3 | <10 |  | 2022-06-29 | 2022-06-29 | 2022-06-29 | 2023
Point5 | 7.2 | 264 | 19200 | <10 | overflow check; due to heavy rainfall | 2022-07-04 | 2022-07-04 | 2022-07-04 | 2023
Point5 | 6.88 | 127 | 587 | <10 | Thompson Creek Overflow | 2022-07-05 | 2022-07-05 | 2022-07-05 | 2023
Point5 | 6.91 | 278 | 19200 | <10 | overflow check; due to heavy rainfall | 2022-07-05 | 2022-07-05 | 2022-07-05 | 2023
Point5 | 7 | 315 | 19200 | <10 | overflow check; due to heavy rainfall | 2022-07-06 | 2022-07-06 | 2022-07-06 | 2023
Point5 | 7.12 | 380 | 14.7 | <10 |  | 2022-07-11 | 2022-07-11 | 2022-07-11 | 2023
Point5 | 7.32 | 418 | 24.5 | <10 |  | 2022-07-15 | 2022-07-15 | 2022-07-15 | 2023

## Point 1
EPA Licence Number: | 1808
Licensee Name: | CSR Building Products Limited
Licensee Address: | 2 Greendale Rd Bringelly, NSW 2556
Link to Licence: | http://www.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=70251&SYSUID=1&LICID=1808
Type of Discharge Point: | Discharge to water
Sampling Point Description: | Outlet from Dam 1 on map labelled: Site Layout Plan, Figure 2, Water Management Plan dated 10.11.15 (EPA DOC15/464889-02). Discharge point is located on the NE corner of Dam 1.
Monitoring Frequency Required: | Weekly during any discharge |  | No of Samples required Annually: |  | Dependent on discharges
Limit | 6.5-8.5 | 150 | 10 |  |  |  |  | 01 Jun to 31 May
Description | pH | Turbidity (NTU) | Oil and Grease (mg/L) | Comment | Date Sampled | Date Obtained | Date Published | Annual Return Year
Point 1 | 7.5 | 650 | <10 | Untreated as received 12 days rain in 4 days. | 2016-06-06 | 2016-06-06 | 2016-06-06 | 2017
Point 1 | 7.2 | 113 | <10 |  | 2017-03-22 | 2017-03-22 | 2017-03-22 | 2017
Point 1 | 7.4 | 74 | <10 |  | 2017-03-31 | 2017-03-31 | 2017-03-31 | 2017
Point 1 | 7.47 | 88 | <10 |  | 2017-04-05 | 2017-04-05 | 2017-04-05 | 2017
Number of Samples | 4 | 4 | 0
Lowest Sample | 7.2 | 74 | 0
Mean of Sample | 7.3925 | 231.25 | #DIV/0!
Highest Sample | 7.5 | 650 | 0
Point 1 | 6.9 | 1401 | <10 | Rain/Stormwater untreatedl 08/02/2020-10/02/2020 | 2020-02-10 | 2020-02-10 | 2020-02-10 | 2020
Point 1 | 8.3 | 1730 | <10 |  | 1139686 | 1139686 | 1139686 | 2021
Point 1 | 9.5 | 192 | <10 |  | 2021-03-20 | 2021-03-20 | 2021-03-20 | 2021
Point 1 | 9.3 | 468 | <10 |  | 2021-03-21 | 2021-03-21 | 2021-03-21 | 2021
Point 1 | 9.2 | 550 | <10 |  | 2021-03-22 | 2021-03-22 | 2021-03-22 | 2021
Point 1 | 9.2 | 961 | <10 |  | 2021-03-23 | 2021-03-23 | 2021-03-23 | 2021
Point 1 | 8.2 | 322 | <10 |  | 2021-03-24 | 2021-03-24 | 2021-03-24 | 2021
Point 1 | 8.7 | 417 | <10 |  | 2021-03-25 | 2021-03-25 | 2021-03-25 | 2021
Point 1 | 5.2 | 417 | <10 |  | 2021-03-26 | 2021-03-26 | 2021-03-26 | 2021
Point 1 | 7.5 | 19200 | <10 | Rain/Stormwater untreated | 2022-02-28 | 2022-02-28 | 2022-02-28 | 2022
Point 1 | 7.3 | 1970 | <10 | Rain/Stormwater untreated | 2022-03-02 | 2022-03-02 | 2022-03-02 | 2022
Point 1 | 6.9 | 19200 | <10 | Rain/Stormwater untreated | 2022-03-03 | 2022-03-03 | 2022-03-03 | 2022
Point 1 | 6.8 | 19200 | <10 | Rain/Stormwater untreated | 2022-07-04 | 2022-07-04 | 2022-07-04 | 2023
Point 1 | 7 | 19200 | <10 | Rain/Stormwater untreated | 2022-07-05 | 2022-07-05 | 2022-07-05 | 2023
Point 1 | 6.8 | 787 | <10 | Creek overflow sampling | 2022-07-05 | 2022-07-05 | 2022-07-05 | 2023
Point 1 | 6.9 | 19200 | <10 | Rain/Stormwater untreated | 2022-07-06 | 2022-07-06 | 2022-07-06 | 2023

## Point 2
EPA Licence Number: | 1808
Licensee Name: | CSR Building Products Limited
Licensee Address: | 2 Greendale Rd Bringelly, NSW 2556
Link to Licence: | http://www.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=70251&SYSUID=1&LICID=1808
Type of Discharge Point: | Discharge to air
Sampling Point Description: | Kiln exhaust stack as marked on map showing locations of discharge points submitted to the EPA with Licence Information Form dated 9/05/00
Monitoring Frequency Required: | Yearly | No of Samples required Annually: |  |  | 1
Limit | 50 | 2000 | 100 |  |  |  |  | 01 Jun to 31 May
Description | Hydrogen Flouride (mg/m3) | Nitrogen Oxides (mg/m3) | Total Solid Particles (mg/m3) | Comment | Date Sampled | Date Obtained | Date Published | Annual Return Year
Point 2 | 4.4 | 63 | 5.1 |  | 2015-03-26 |  |  | 2015
Point 2 | 9.6 | 95 | 6.4 |  | 2016-04-05 |  |  | 2016
Point 2 | 14 | 111.4 | 21.2 |  | 2017-04-20 |  |  | 2017
Point 2 | 9.25 | 108 | 30.9 |  | 2018-03-20 |  |  | 2018
Point 2 | 11 | 62 | 4.4 |  | 2019-03-07 | 2019-05-31 | 2019-05-31 | 2019
Point2 | 5.7 | 48 | 13 |  | 2020-04-07 | 2020-05-04 | 2020-05-04 | 2020
Point2 | 8.6 | 39 | 5.9 |  | 2021-03-30 | 2021-05-03 | 2021-05-04 | 2021
Point2 | 7.4 | 94 | 21 |  | 2022-05-05 | 2022-05-24 | 2022-05-24 | 2022