## Point 1 (hidden)
EPA Licence Number: | L11196
Licensee Name: | Boral CSR Bricks Pty Limited
Licensee Address: | Oaklands (Urana)
Link to Licence: | http://www.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=50086&SYSUID=1&LICID=11196
[11 empty] | CORRECTION LOG |  |  | Exceedance / Non-ComplianceTable
Month/Year | Sampling Point | Pollutant | Units of Measure | Monitoring Frequency Required by Licence | Measurement | 100 percentile limit | Exceedance (yes/no) | Date Sampled | Date Obtained | Date Published | Corrected Data | Date Corrected | Reason | Extent of Exceedance | Reason / Context
Point 1 | Point 1
2015-05-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2015-06-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2015-07-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2015-08-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2015-09-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2015-10-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2015-11-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2015-12-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2016-01-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2016-02-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2016-03-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2016-04-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2016-05-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2016-06-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2016-07-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2016-08-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2016-09-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2016-10-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2016-11-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2016-12-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2017-01-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2017-02-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2017-03-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2017-04-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events
2017-05-01 | Dam | TSS | milligrams per litre | each overflow event | na | 50 | na | Nil samples taken | N/A | N/A |  |  |  |  | No overflow events

## Point 1
EPA Licence Number: | L11196
Licensee Name: | PGH Bricks and Pavers Pty Limited
Licensee Address: | Oaklands (Urana)
Link to Licence: | https://apps.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=185568&SYSUID=1&LICID=11196
Type of Discharge Point: | Discharge from sedimentation dams
Sampling Point Description: | Water Monitoring Point 1 located at Sedimentation Dam South of Quarry, as shown in Oaklands Site Plan Dated 12 Feb 20 (X-Ref DOC19/1078609-6).
Monitoring Frequency Required: | Each overflow event |  | No of Samples required Annually: |  |  | Dependent on discharges
Limit | 50 |  |  |  |  | 1st Sept - 31st Aug
Description | TSS (mg/L) | Comments | Date Sampled | Date Obtained | Date Published | Annual Return
Point 1 | NA | No discharge occurred | 2015-08-01 | N/A | N/A | 2015
Point 1 | NA | No discharge occurred | 2016-08-01 | N/A | N/A | 2016
Point 1 | NA | No discharge occurred | 2017-08-01 | N/A | N/A | 2017
Point 1 | NA | No discharge occurred | 2018-08-01 | N/A | N/A | 2018
Point 1 | NA | No discharge occurred | 2019-08-01 | N/A | N/A | 2019
Point 1 | NA | No discharge occurred | 2020-08-01 | N/A | N/A | 2020
Point 1 | NA | No discharge occurred | 2021-08-01 | N/A | N/A | 2021
Point 1

## Point 2 (hidden)
EPA Licence Number: | L11196
Licensee Name: | PGH Bricks and Pavers Pty Limited
Licensee Address: | Oaklands (Urana)
Link to Licence: | http://www.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=50090&SYSUID=1&LICID=11196
[14 empty] | CORRECTION LOG |  |  | Exceedance / Non-ComplianceTable
Sampling Point | Pollutant | Units of Measure | Monitoring Frequency Required by Licence | [5 empty] | 100 percentile limit | Exceedance (yes/no) | Date Sampled | Date Obtained | Date Published | Corrected Data | Date Corrected | Reason | Extent of Exceedance | Reason / Context
Point 2 |  |  |  | Ash | Combustible Matter | Insoluble Solids | Soluble Solids | Total Matter
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.9 | 0.2 | 1.1 | <0.2 | 1.3 | 2.5 | No | 2015-08-17 | 2015-08-20 | N/A
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.7 | 0.5 | 1.2 | 1 | 2.2 | 2.5 | No | 2015-08-17 | 2015-08-20 | N/A
Not Sampled
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | N/A | N/A | N/A | N/A | N/A | 2.5 | N/A | 2015-11-18 | N/A | N/A |  |  |  |  | Not Sampled
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | N/A | N/A | N/A | N/A | N/A | 2.5 | N/A | 18/11/2015 | N/A | N/A |  |  |  |  | Not Sampled
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | N/A | N/A | N/A | N/A | N/A | 2.5 | N/A | 19/02/2016 | N/A | N/A |  |  |  |  | Not Sampled
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | N/A | N/A | N/A | N/A | N/A | 2.5 | N/A | 19/02/2016 | N/A | N/A |  |  |  |  | Not Sampled
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 1.9 | 0.4 | 2.3 |  |  | 2.5 | no | 2016-05-05 | 2016-05-11 | 2016-05-25
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 1.6 | 0.6 | 2.2 |  |  | 2.5 | no | 2016-05-05 | 2016-05-11 | 2016-05-25
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 1.9 | 0.4 | 2.3 |  |  | 2.5 | no | 2016-06-03 | 2016-06-16 | 2016-06-27
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 1.6 | 0.6 | 2.2 |  |  | 2.5 | no | 2016-06-03 | 2016-06-16 | 2016-06-27
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.7 | 0.2 | 0.9 |  |  | 2.5 | no | 2016-07-04 | 2016-08-04 | 2016-08-10
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.2 | 0.2 | 0.4 |  |  | 2.5 | no | 2016-07-04 | 2016-08-04 | 2016-08-10 |  |  |  |  | broken bottle
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.1 | 0.1 | 0.1 |  |  | 2.5 | no | 2016-08-04 | 2016-08-24 | 2016-08-30
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | N/A | N/A | N/A |  |  | 2.5 | no | 2016-08-04 | 2016-08-24 | 2016-08-30
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.6 | 0.1 | 0.7 |  |  | 2.5 | no | 2016-09-06 | 2016-09-23 | 2016-09-30 |  |  |  |  | unusual reading. As there were bugs nioticed in bottle. VGT questioned and asked to check sample.
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.9 | 0.3 | 1.2 |  |  | 2.5 | no | 2016-09-06 | 2016-09-23 | 2016-09-30
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 3 | 0.4 | 3.4 |  |  | 2.5 | no | 2016-10-07 | 2016-10-24 | 2016-10-28
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.2 | 0.1 | 0.3 |  |  | 2.5 | no | 2016-10-07 | 2016-10-24 | 2016-10-28
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.5 | 0.7 | 1.2 |  |  | 2.5 | no | 2016-10-07
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.2 | 0.3 | 0.5 |  |  | 2.5 | no | 2016-10-07
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.6 | 0.1 | 0.7 |  |  | 2.5 | no | 2016-11-08
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.7 | 0.1 | 0.8 |  |  | 2.5 | no | 2016-11-08
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.8 | 0.2 | 1 |  |  | 2.5 | no | 2016-12-08
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.6 | 0.2 | 0.8 |  |  | 2.5 | no | 2016-12-08
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 1 | 0.2 | 1.2 |  |  | 2.5 | no | 2016-12-08
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 2.5 | 0.6 | 3.1 |  |  | 2.5 | no | 2016-12-08
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.7 | 0.2 | 0.9 |  |  | 2.5 | no | 2017-01-15
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.5 | 0.5 | 1 |  |  | 2.5 | no | 2017-01-15
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.9 | 0.2 | 0.7 |  |  | 2.5 | no | 2017-02-10
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.5 | 0.5 | 1 |  |  | 2.5 | no | 2017-02-10
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m3 | Quarterly | 0.9 | 0.1 | 1 |  |  | 2.5 | no | 2017-03-14
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m4 | Quarterly | 0.8 | <0.1 | 0.8 |  |  | 2.5 | no | 2017-03-14
Oaklands 1 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 1.2 | 0.3 | 1.5 |  |  | 2.5 | no | 2017-04-12
Oaklands 2 - Air Particulates | Particulates - Deposited Matter | grams per m2 | Quarterly | 0.7 | 0.1 | 0.8 |  |  | 2.5 | no | 2017-04-12

## Point 2 Gate
EPA Licence Number: | L11196
Licensee Name: | PGH Bricks and Pavers Pty Limited
Licensee Address: | Oaklands (Urana)
Link to Licence: | https://apps.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=185568&SYSUID=1&LICID=11196
Type of Discharge Point: | Monitoring of dust deposition
Sampling Point Description: | Dust Deposition Monitoring Point 2 located North East of Quarry as shown in Oaklands Site Plan Dated 12 Feb 20 (X-Ref DOC19/1078609-6)
Monitoring Frequency Required: | Monthly | No of Samples required Annually: |  | 12
Limit | 4 Annual Average |  |  |  |  | 1st Sept - 31st Aug
Description | Insoluble Solids (g/m2/month) | Comments | Date Sampled | Date Obtained | Date Published | Annual Return
Oaklands Gauge 1 | 2.3 |  | 2016-05-05 | 2016-05-25 |  | 2016
Oaklands Gauge 1 | 0.9 |  | 2016-06-03 | 2016-06-27 |  | 2016
Oaklands Gauge 1 | <0.1 |  | 2016-07-04 | 2016-08-10 |  | 2016
Oaklands Gauge 1 | 0.7 |  | 2016-08-04 | 2016-08-30 |  | 2016
Number of Samples | 4 |  |  |  |  | 2016
Lowest Sample | <0.1 |  |  |  |  | 2016
Mean of Sample | 0.975 |  |  |  |  | 2016
Highest Sample | 2.3 |  |  |  |  | 2016
Oaklands Gauge 1 | 3.4 |  | 2016-09-06 | 2016-10-25 |  | 2017
Oaklands Gauge 1 | 1.2 |  | 2016-10-07 | 2016-10-28 |  | 2017
Oaklands Gauge 1 | 0.7 |  | 2016-11-08 | 2016-11-29 |  | 2017
Oaklands Gauge 1 | 1 |  | 2016-12-08 | 2016-12-29 |  | 2017
Oaklands Gauge 1 | 1.2 |  | 2017-01-15 | 2017-02-03 |  | 2017
Oaklands Gauge 1 | 0.9 |  | 2017-02-10 | 2017-03-09 |  | 2017
Oaklands Gauge 1 | 1 |  | 2017-03-14 | 2017-03-28 |  | 2017
Oaklands Gauge 1 | 1.5 |  | 2017-04-12 | 2017-04-28 |  | 2017
Oaklands Gauge 1 | 1 |  | 2017-05-12 | 2017-06-07 |  | 2017
Oaklands Gauge 1 | 1 |  | 2017-06-06 | 2017-08-07 |  | 2017
Oaklands Gauge 1 | 0.4 |  | 2017-07-17 | 2017-08-07 |  | 2017
Oaklands Gauge 1 | 1.2 |  | 2017-08-14 | 2017-08-30 |  | 2017
Number of Samples | 12 |  |  |  |  | 2017
Lowest Sample | 0.4 |  |  |  |  | 2017
Mean of Sample | 1.2083 |  |  |  |  | 2017
Highest Sample | 3.4 |  |  |  |  | 2017
Oaklands Gauge 1 | 0.2 |  | 2017-09-18 | 2017-10-16 |  | 2018
Oaklands Gauge 1 | 1.6 |  | 2017-10-21 | 2017-11-21 |  | 2018
Oaklands Gauge 1 | 1.1 |  | 2017-11-23 | 2018-03-23 |  | 2018
Oaklands Gauge 1 | 3 |  | 2017-12-29 | 2018-03-23 |  | 2018
Oaklands Gauge 1 | 1.8 |  | 30/01/2018 | 2018-03-23 |  | 2018
Oaklands Gauge 1 | 2.7 |  | 2018-03-23 | 2018-08-14 |  | 2018
Oaklands Gauge 1 | 0.7 |  | 2018-05-16 | 2018-08-14 |  | 2018
Oaklands Gauge 1 | 0.5 |  | 2018-06-18 | 2018-07-06 |  | 2018
Oaklands Gauge 1 | 0.7 |  | 2018-07-20 | 2018-10-09 |  | 2018
Oaklands Gauge 1 | 0.9 |  | 2018-08-25 | 2018-09-18 |  | 2018
Number of Samples | 10 |  |  |  |  | 2018
Lowest Sample | 0.2 |  |  |  |  | 2018
Mean of Sample | 1.32 |  |  |  |  | 2018
Highest Sample | 3 |  |  |  |  | 2018
Oaklands Gauge 1 | 3.8 |  | 2018-09-24 | 2018-10-09 |  | 2019
Oaklands Gauge 1 | 1.7 |  | 2018-10-24 | 2018-10-09 |  | 2019
Oaklands Gauge 1 | 3.9 |  | 2018-11-22 | 2018-12-06 |  | 2019
Oaklands D1 Gate | 2.6 |  | 2018-12-19 | 2019-01-16 |  | 2019
Oaklands D1 Gate | 2.8 |  | 2019-01-17 | 2019-01-30 |  | 2019
Oaklands D1 Gate | 6.5 |  | 2019-02-13 | 2019-02-28 |  | 2019
Oaklands D1 Gate | 29.4 |  | 2019-03-14 | 2019-04-08 |  | 2019
Oaklands D1 Gate | 1 |  | 2019-04-11 | 2019-04-26 |  | 2019
Oaklands D1 Gate | 1.9 |  | 2019-05-10 | 2019-05-27 |  | 2019
Oaklands D1 Gate | 1.1 |  | 2019-06-06 | 2019-06-19 |  | 2019
Oaklands D1 Gate | 1.6 |  | 2019-07-03 | 2019-07-17 |  | 2019
Oaklands D1 Gate | 3.3 |  | 2019-07-30 | 2019-08-15 |  | 2019
Oaklands D1 Gate | 1.1 |  | 2019-08-26 | 2019-09-11 |  | 2019
Number of Samples | 13 |  |  |  |  | 2019
Lowest Sample | 1 |  |  |  |  | 2019
Mean of Sample | 4.6692 |  |  |  |  | 2019
Highest Sample | 29.4 |  |  |  |  | 2019
Oaklands D1 Gate | 1.6 |  | 2019-09-25 | 2019-10-18 |  | 2020
Oaklands D1 Gate | 2.8 |  | 2019-10-25 | 2019-11-08 |  | 2020
Oaklands D1 Gate | 1.8 |  | 2019-11-19 | 2019-12-06 |  | 2020
Oaklands D1 Gate | 16 |  | 2019-12-18 | 2020-01-15 |  | 2020
Oaklands D1 Gate | 10.6 |  | 2020-01-17 | 2020-01-31 |  | 2020
Oaklands D1 Gate | 5 |  | 2020-02-11 | 2020-02-26 |  | 2020
Oaklands D1 Gate | 2.4 |  | 2020-03-13 | 2020-03-27 |  | 2020
Oaklands D1 Gate | 2.1 |  | 2020-04-10 | 2020-04-29 |  | 2020
Oaklands D1 Gate | 0.8 |  | 2020-05-06 | 2020-05-19 |  | 2020
Oaklands D1 Gate | 0.6 |  | 2020-06-02 | 2020-06-17 |  | 2020
Oaklands D1 Gate | 0.4 |  | 2020-07-02 | 2020-07-15 |  | 2020
Oaklands D1 Gate | 0.3 |  | 2020-07-29 | 2020-08-13 |  | 2020
Number of Samples | 12 |  |  |  |  | 2020
Lowest Sample | 0.3 |  |  |  |  | 2020
Mean of Sample | 3.7 |  |  |  |  | 2020
Highest Sample | 16 |  |  |  |  | 2020
D1 Gate (11196-2) | 0.1 |  | 2020-08-24 | 2020-09-08 |  | 2021
D1 Gate (11196-2) | 1.8 |  | 2020-09-23 | 2020-10-08 |  | 2021
D1 Gate (11196-2) | 2.4 |  | 2020-10-21 | 2020-11-04 |  | 2021
D1 Gate (11196-2) | 1.9 |  | 2020-11-18 | 2020-12-02 |  | 2021
D1 Gate (11196-2) | 2.2 |  | 2020-12-21 | 2021-01-12 |  | 2021
D1 Gate (11196-2) | 2.9 |  | 2021-01-13 | 2021-01-29 |  | 2021
D1 Gate (11196-2) | 2.2 |  | 2021-02-10 | 2021-02-24 |  | 2021
D1 Gate (11196-2) | 1.3 |  | 2021-03-10 | 2021-03-25 |  | 2021
D1 Gate (11196-2) | 1.1 |  | 2021-04-08 | 2021-04-22 |  | 2021
D1 Gate (11196-2) | 1.6 |  | 2021-05-05 | 2021-05-20 |  | 2021
D1 Gate (11196-2) | 1.2 |  | 2021-06-02 | 2021-06-17 |  | 2021
D1 Gate (11196-2) | 0.3 |  | 2021-06-30 | 2021-07-12 |  | 2021
Number of Samples | 12 |  |  |  |  | 2021
Lowest Sample | 0.1 |  |  |  |  | 2021
Mean of Sample | 1.5833 |  |  |  |  | 2021
Highest Sample | 2.9 |  |  |  |  | 2021
D1 Gate (11196-2) | 0.4 |  | 2021-07-28 | 2021-08-11 |  | 2022
D1 Gate (11196-2) | 0.7 |  | 2021-08-25 | 2021-09-07 |  | 2022
D1 Gate (11196-2) | 1.3 |  | 2021-09-22 | 2021-10-06 |  | 2022
D1 Gate (11196-2) | 1.3 |  | 2021-10-20 | 2021-11-02 |  | 2022
D1 Gate (11196-2) | [5 empty] | 2022
D1 Gate (11196-2) | [5 empty] | 2022
D1 Gate (11196-2) | [5 empty] | 2022
D1 Gate (11196-2) | [5 empty] | 2022
D1 Gate (11196-2) | [5 empty] | 2022
D1 Gate (11196-2) | [5 empty] | 2022
D1 Gate (11196-2) | [5 empty] | 2022
D1 Gate (11196-2) | [5 empty] | 2022
Number of Samples | 4 |  |  |  |  | 2022
Lowest Sample | 0.4 |  |  |  |  | 2022
Mean of Sample | 0.925 |  |  |  |  | 2022
Highest Sample | 1.3 |  |  |  |  | 2022

## Point 3 West Ring
EPA Licence Number: | L11196
Licensee Name: | PGH Bricks and Pavers Pty Limited
Licensee Address: | Oaklands (Urana)
Link to Licence: | https://apps.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=185568&SYSUID=1&LICID=11196
Type of Discharge Point: | Monitoring of dust deposition
Sampling Point Description: | Dust Deposition Monitoring Point 3 located South West of Quarry as shown in Oaklands Site Plan Dated 12 Feb 20 (X-Ref DOC19/1078609-6)
Monitoring Frequency Required: | Monthly | No of Samples required Annually: |  | 12
Limit | 2.5 |  |  |  |  | 1st Sept - 31st Aug
Description | Insoluble Solids (g/m2/month) | Comments | Date Sampled | Date Obtained | Date Published | Annual Return
Oaklands Gauge 2 | 2.2 |  | 2016-05-05 | 2016-05-25 |  | 2016
Oaklands Gauge 2 | 0.4 |  | 2016-06-03 | 2016-06-27 |  | 2016
Oaklands Gauge 2 |  | Bottle broken during transit | 2016-07-04 | 2016-08-10 |  | 2016
Oaklands Gauge 2 | 1.2 |  | 2016-08-04 | 2016-08-30 |  | 2016
Number of Samples | 3 |  |  |  |  | 2016
Lowest Sample | 0.4 |  |  |  |  | 2016
Mean of Sample | 1.2667 |  |  |  |  | 2016
Highest Sample | 2.2 |  |  |  |  | 2016
Oaklands Gauge 2 | 0.5 |  | 2016-09-06 | 2016-10-25 |  | 2017
Oaklands Gauge 2 | 0.8 |  | 2016-10-07 | 2016-10-28 |  | 2017
Oaklands Gauge 2 | 0.8 |  | 2016-11-08 | 2016-11-29 |  | 2017
Oaklands Gauge 2 | 3.1 |  | 2016-12-08 | 2016-12-29 |  | 2017
Oaklands Gauge 2 | 1 |  | 2017-01-15 | 2017-02-03 |  | 2017
Oaklands Gauge 2 | 0.8 |  | 2017-02-10 | 2017-03-09 |  | 2017
Oaklands Gauge 2 | 0.8 |  | 2017-03-14 | 2017-03-28 |  | 2017
Oaklands Gauge 2 | 0.7 |  | 2017-04-12 | 2017-04-28 |  | 2017
Oaklands Gauge 2 | 0.7 |  | 2017-05-12 | 2017-06-07 |  | 2017
Oaklands Gauge 2 | 0.3 |  | 2017-06-06 | 2017-08-07 |  | 2017
Oaklands Gauge 2 | 0.2 |  | 2017-07-17 | 2017-08-07 |  | 2017
Oaklands Gauge 2 | 1.2 |  | 2017-08-14 | 2017-08-30 |  | 2017
Number of Samples | 12 |  |  |  |  | 2017
Lowest Sample | 0.2 |  |  |  |  | 2017
Mean of Sample | 0.90833 |  |  |  |  | 2017
Highest Sample | 3.1 |  |  |  |  | 2017
Oaklands Gauge 2 | <0.1 |  | 2017-09-18 | 2017-10-16 |  | 2018
Oaklands Gauge 2 | 0.6 |  | 2017-10-21 | 2017-11-21 |  | 2018
Oaklands Gauge 2 | 0.8 |  | 2017-11-23 | 2018-03-23 |  | 2018
Oaklands Gauge 2 | 1.5 |  | 2017-12-29 | 2018-03-23 |  | 2018
Oaklands Gauge 2 | 1.8 |  | 2018-01-30 | 2018-03-23 |  | 2018
Oaklands Gauge 2 | 0.8 |  | 2018-03-23 | 2018-08-14 |  | 2018
Oaklands Gauge 2 | 0.9 |  | 2018-05-16 | 2018-08-14 |  | 2018
Oaklands Gauge 2 | 0.2 |  | 2018-06-18 | 2018-07-06 |  | 2018
Oaklands Gauge 2 | 0.5 |  | 2018-07-20 | 2018-10-09 |  | 2018
Oaklands Gauge 2 | 0.8 |  | 2018-08-25 | 2018-09-18 |  | 2018
Number of Samples | 10 |  |  |  |  | 2018
Lowest Sample | 0 |  |  |  |  | 2018
Mean of Sample | 0.79 |  |  |  |  | 2018
Highest Sample | 1.8 |  |  |  |  | 2018
Oaklands D2 West Ring | 4.5 |  | 2018-09-24 | 2018-10-09 |  | 2019
Oaklands D2 West Ring | 1.1 |  | 2018-10-24 | 2018-10-09 |  | 2019
Oaklands D2 West Ring | 3.9 |  | 2018-11-22 | 2018-12-06 |  | 2019
Oaklands D2 West Ring | 1.9 |  | 2018-12-19 | 2019-01-16 |  | 2019
Oaklands D2 West Ring | 2.6 |  | 2019-01-17 | 2019-01-30 |  | 2019
Oaklands D2 West Ring | 4.1 |  | 2019-02-13 | 2019-02-28 |  | 2019
Oaklands D2 West Ring | 1.9 |  | 2019-03-14 | 2019-04-08 |  | 2019
Oaklands D2 West Ring | 2 |  | 2019-04-11 | 2019-04-26 |  | 2019
Oaklands D2 West Ring | 1.4 |  | 2019-05-10 | 2019-05-27 |  | 2019
Oaklands D2 West Ring | 0.3 |  | 2019-06-06 | 2019-06-19 |  | 2019
Oaklands D2 West Ring | 0.8 |  | 2019-07-03 | 2019-07-17 |  | 2019
Oaklands D2 West Ring | 0.4 |  | 2019-07-30 | 2019-08-15 |  | 2019
Oaklands D2 West Ring | 0.6 |  | 2019-08-26 | 2019-09-11 |  | 2019
Number of Samples | 13 |  |  |  |  | 2019
Lowest Sample | 0.3 |  |  |  |  | 2019
Mean of Sample | 1.9615 |  |  |  |  | 2019
Highest Sample | 4.5 |  |  |  |  | 2019
Oaklands D2 West Ring | 0.7 |  | 2019-09-25 | 2019-10-18 |  | 2020
Oaklands D2 West Ring | 1.6 |  | 2019-10-25 | 2019-11-08 |  | 2020
Oaklands D2 West Ring | 1.4 |  | 2019-11-19 | 2019-12-06 |  | 2020
Oaklands D2 West Ring | 1.6 |  | 2019-12-18 | 2020-01-15 |  | 2020
Oaklands D2 West Ring | 3.1 |  | 2020-01-17 | 2020-01-31 |  | 2020
Oaklands D2 West Ring | 4.3 |  | 2020-02-11 | 2020-02-26 |  | 2020
Oaklands D2 West Ring | 1.5 |  | 2020-03-13 | 2020-03-27 |  | 2020
Oaklands D2 West Ring | 1.6 |  | 2020-04-10 | 2020-04-29 |  | 2020
Oaklands D2 West Ring | 0.5 |  | 2020-05-06 | 2020-05-19 |  | 2020
Oaklands D2 West Ring | 0.4 |  | 2020-06-02 | 2020-06-17 |  | 2020
Oaklands D2 West Ring | 0.1 |  | 2020-07-02 | 2020-07-15 |  | 2020
Oaklands D2 West Ring | 0.6 |  | 2020-07-29 | 2020-08-13 |  | 2020
Number of Samples | 12 |  |  |  |  | 2020
Lowest Sample | 0.1 |  |  |  |  | 2020
Mean of Sample | 1.45 |  |  |  |  | 2020
Highest Sample | 4.3 |  |  |  |  | 2020
D2 West Ring (11196-3) | 0.1 |  | 2020-08-24 | 2020-09-08 |  | 2021
D2 West Ring (11196-3) | 1.2 |  | 2020-09-23 | 2020-10-08 |  | 2021
D2 West Ring (11196-3) | 1.2 |  | 2020-10-21 | 2020-11-04 |  | 2021
D2 West Ring (11196-3) | 1.5 |  | 2020-11-18 | 2020-12-02 |  | 2021
D2 West Ring (11196-3) | 1.5 |  | 2020-12-21 | 2021-01-12 |  | 2021
D2 West Ring (11196-3) | 1.1 |  | 2021-01-13 | 2021-01-29 |  | 2021
D2 West Ring (11196-3) | 1.5 |  | 2021-02-10 | 2021-02-24 |  | 2021
D2 West Ring (11196-3) | 1.3 |  | 2021-03-10 | 2021-03-25 |  | 2021
D2 West Ring (11196-3) | 1.2 |  | 2021-04-08 | 2021-04-22 |  | 2021
D2 West Ring (11196-3) | 1.4 |  | 2021-05-05 | 2021-05-20 |  | 2021
D2 West Ring (11196-3) | 1 |  | 2021-06-02 | 2021-06-17 |  | 2021
D2 West Ring (11196-3) | 0.2 |  | 2021-06-30 | 2021-07-12 |  | 2021
Number of Samples | 12 |  |  |  |  | 2021
Lowest Sample | 0.1 |  |  |  |  | 2021
Mean of Sample | 1.1 |  |  |  |  | 2021
Highest Sample | 1.5 |  |  |  |  | 2021
D2 West Ring (11196-3) | 0.4 |  | 2021-07-28 | 2021-08-11 |  | 2022
D2 West Ring (11196-3) | 0.5 |  | 2021-08-25 | 2021-09-07 |  | 2022
D2 West Ring (11196-3) | 0.5 |  | 2021-09-22 | 2021-10-06 |  | 2022
D2 West Ring (11196-3) | 0.6 |  | 2021-10-20 | 2021-11-02 |  | 2022
D2 West Ring (11196-3) | [5 empty] | 2022
D2 West Ring (11196-3) | [5 empty] | 2022
D2 West Ring (11196-3) | [5 empty] | 2022
D2 West Ring (11196-3) | [5 empty] | 2022
D2 West Ring (11196-3) | [5 empty] | 2022
D2 West Ring (11196-3) | [5 empty] | 2022
D2 West Ring (11196-3) | [5 empty] | 2022
D2 West Ring (11196-3) | [5 empty] | 2022
Number of Samples | 4 |  |  |  |  | 2022
Lowest Sample | 0.4 |  |  |  |  | 2022
Mean of Sample | 0.5 |  |  |  |  | 2022
Highest Sample | 0.6 |  |  |  |  | 2022

## Sampling Point Location Map
EPA Licence Number: | L11196
Licensee Name: | PGH Bricks and Pavers Pty Limited
Licensee Address: | Oaklands (Urana)
Link to Licence: | https://apps.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=185568&SYSUID=1&LICID=11196